OPERATOR & DEVELOPER REFERENCE

GLINT Alignment Refactor

Structure, dependencies, configuration and file storage

Version 0.4.5  |  2 September 2026

# 1. Quick reference

- All packaged defaults and calibration metadata are in config/.

- The instrument GUI normally loads and updates config/instrument.json.

- The local simulator loads and updates config/simulator.json.

- Clicking WORKFLOW opens the persistent scan-default editor. UPDATE DEFAULTS validates the complete set, applies it immediately, and atomically rewrites the active JSON.

- Clicking MOUNT CONFIGURATION opens the live six-axis mount-control window. There is no separate Advanced button.

- Telescope alignment products are written below /home/scexao/glint/alignment_scan by default.

- Simulator products are written below <refactor root>/alignment_scan by default.

- Darks are shared and overwritten in alignment_scan/darks/.

- DM, mount and Conex commands append to three persistent JSONL logs in alignment_scan/command_logs/.

# 2. High-level architecture

- A launcher loads one JSON configuration.

- The selected hardware backend attaches either to telescope services or to the deterministic simulator.

- The GUI collects settings and operator decisions.

- AlignmentEngine performs scans through the hardware-neutral AlignmentHardware interface.

- Analysis functions generate recommendations; the GUI never applies a recommendation until the operator confirms it.

- Storage functions save arrays, JSON metadata, the exact review PNG, the final state and command-log sequence references.

The instrument and simulator use the same GUI, scan engine, analysis, storage, configuration validation and workflow state machine. Only the hardware adapter changes.

# 3. Repository structure

glint_alignment_refactor/
  config/                         all packaged default/configuration assets
    instrument.json               telescope paths, safeguards, DM states and scan defaults
    simulator.json                local-demo defaults and synthetic-hardware settings
    detector_boxes.json           photometry/null/fringe-tracking extraction boxes
    response_matrix.npy           default 2 x 2 Conex response matrix
    README.md                     concise configuration-asset guide
  docs/
    GLINT_ALIGNMENT_STRUCTURE.md  source copy of this guide
  glint_alignment/
    analysis.py                   Gaussian/COM/null fits and common-piston solution
    boxes.py                      loads detector_boxes.json and integrates boxes
    camera_storage.py             manual camera-frame filenames and FITS/NPY writing
    command_log.py                three continuously appended device logs
    config.py                     load, validate and atomically save configuration
    engine.py                     scan sequencing, safeguards, restore and Apply logic
    gui.py                        dashboard, pop-ups, review figures and operator decisions
    hardware.py                   hardware-neutral abstract interface and snapshots
    instrument.py                 legacy telescope command adapter
    models.py                     grids, segment PTT, snapshots and scan results
    null_live.py                  APAPANE live statistics and null-depth calculation
    simulator.py                  deterministic local hardware model
    storage.py                    alignment sessions, scan products, darks and final JSON
    workflow_status.py            white/dot/tick/orange workflow state machine
  legacy_active/                  retained old scripts for traceability; never imported
  tests/test_core.py              simulator, persistence, storage and compatibility tests
  run_instrument.py               telescope GUI launcher
  run_local_sim.py                local GUI launcher
  run_headless_demo.py            complete non-GUI simulator sequence
  run_scan.py                     one-scan command-line launcher
  requirements.txt                Python dependencies
  pyproject.toml                  package metadata and Python dependency declarations

# 4. Central configuration folder

| File | Purpose | Changed by GUI? |
| --- | --- | --- |
| config/instrument.json | Every editable telescope path/service name, SHM names, mount mapping/limits, fixed roll, Conex rules, DM states, flat-voltage calibration reference, output paths and all scan defaults. | Scan defaults only, if it is the active file and UPDATE DEFAULTS is pressed. Other values are changed manually. |
| config/simulator.json | Equivalent defaults for the local demo plus simulator seed/noise/initial state. | Yes, when the simulator GUI updates defaults. |
| config/detector_boxes.json | Exact [y0, y1, x0, x1] boxes for Phot 1-3, N1-3 and FT1/FT2. | No; edit deliberately outside a running GUI. |
| config/response_matrix.npy | Default 2 x 2 focal-pixel/Conex response. | Read by bulk alignment; the Workflow editor can change its path or fallback matrix. |
| config/README.md | Operator summary of these assets. | No. |

DM maps are not separate hidden files. zero_ptt, tilted_away, science_operation, segment overrides and REST OF DM map definitions are all stored in the active mode JSON under dm_states and rest_of_dm.

Relative paths in a mode JSON are resolved from the refactor root. A custom instrument configuration passed with --config becomes the active file and receives future GUI default updates instead of config/instrument.json.

### External calibration/runtime references

The instrument JSON also points to telescope-owned files and services that cannot be bundled as generic defaults: focal-reference bright/dark FITS files, the 111-value DM flat-voltage calibration, the control-code directory, SHM streams and the Suruga serial device. Their paths are recorded centrally in config/instrument.json, but the external files/services remain at their telescope locations. The only operational values outside that JSON are the detector rectangles and response-matrix bytes, both stored beside it under config/. No Python source edit is required to change a path or service name.

# 5. How persistent Workflow defaults are saved

- Click WORKFLOW while no operation is running.

- Select any of steps 1-8 in the pop-up.

- Edit scalar fields normally. Fields marked [JSON list] must retain JSON list syntax, for example [300, 800, 300, 800]. Path fields are displayed read-only and must be changed manually in the active JSON.

- Press UPDATE DEFAULTS.

- Values are parsed using the type already stored in JSON: integer, floating point, Boolean, string or list.

- The application validates all eight scans, not only the visible tab. Checks include positive frame/repetition counts, valid inclusive grids, mount endpoints, Z, crop ordering, thresholds and response-array shapes.

- A complete public configuration is written to a temporary file beside the active JSON, flushed to disk and atomically moved over that JSON.

- Runtime-only keys beginning with _, including the current alignment-session directory, are omitted.

- Only after the disk write succeeds are the running GUI and engine switched to the new defaults.

If parsing, validation or writing fails, the previous on-disk and in-memory defaults remain active. Per-scan fields in the main panel remain temporary for that scan; use the Workflow pop-up when the change should survive a restart.

# 6. Launchers and configuration selection

| Command | Backend | Default configuration |
| --- | --- | --- |
| python run_local_sim.py | SimulatedHardware | config/simulator.json |
| python run_instrument.py --config config/instrument.json | InstrumentHardware | Explicit instrument JSON; omit --config to use the same default. |
| python run_headless_demo.py | Simulator, no GUI | config/simulator.json |
| python run_scan.py <scan> --mode simulation | One simulator scan | config/simulator.json, unless --config is supplied. |
| python run_scan.py <scan> --mode instrument --config ... | One telescope scan | Supplied or default instrument JSON. |

# 7. Dependencies

### Python and desktop dependencies

| Dependency | Used for |
| --- | --- |
| Python 3.10+ | Application runtime. |
| Tkinter / Tcl-Tk | GUI windows, controls and pop-ups; often installed as python3-tk on Linux. |
| NumPy >= 1.24 | Arrays, detector cubes, grids, state conversion and NPY/NPZ fallback. |
| SciPy >= 1.10 | Gaussian and null fitting, filtering and peak finding. |
| Matplotlib >= 3.7 | Scan review, DM state and Null Live figures. |
| Astropy >= 5.3 | FITS read/write. Without it, the simulator uses NPY/NPZ fallbacks; the instrument focal reference requires it. |
| pyserial >= 3.5 | Serial dependency of the telescope mount control stack. |

### Telescope-only services and interfaces

| External dependency | Interface used by this refactor |
| --- | --- |
| shmDMcontrol.DM() | Attach to existing DM service; get_ptt, dmptt.set_data, get_volt, dmvolt.set_data, sendzeros. F0 loads the JSON-named flat file itself and uses dmvolt.set_data, avoiding the old hidden working-directory dependency in DM.flatten(). |
| chipMountControl.Mount(port, baudrate) | Axis position/readback, motion state, stop, controller-limit queries and close. |
| pyMilk.interfacing.shm.SHM(name) | Attach to existing APAPANE, Palila, focal and pupil SHM streams. |
| glint_steering2 executable | u/v status and u/v goto value. glint_steering1 is never commanded. |
| Focal-reference FITS pair | Bright and dark reference PSFs used by bulk alignment. |

The refactor does not initialize the DM or Point Grey cameras. It attaches to services that must already be running. The mount serial connection is opened by the instrument backend.

# 8. Mount configuration and control

Click MOUNT CONFIGURATION to open the six-axis controller. It shows live positions, configured limits and unit-specific jog steps. The logical/controller mapping is fixed:

Roll is displayed but locked to mount_control.fixed_roll (1400 by default). Every scan and jog uses the same safeguard path and includes the fixed roll. The configured JSON limits are authoritative; controller queries provide diagnostic warnings.

| Logical axis | Controller axis | Configured range |
| --- | --- | --- |
| Pitch | 1 | -500 to 800 pulses |
| Roll | 2 | 1000 to 2000 pulses |
| Yaw | 3 | -500 to 900 pulses |
| X | 4 | -7500 to 8000 microns |
| Z | 5 | 1100 to 2500 microns |
| Y | 6 | -4000 to 9000 microns |

# 9. Alignment output storage

### Automatic workflow

The instrument default root is /home/scexao/glint/alignment_scan. The simulator root is <refactor root>/alignment_scan.

Each press of automatic RUN creates:

alignment_scan/YYYYMMDD/Alignment_outputs_N/

N increases for every automatic run that day, including partial ranges. A scan always receives a progressive suffix, including its first occurrence:

03_bulk_alignment_1.json/.fits/.png
05_pitch_yaw_1.json/.fits/.png
05_pitch_yaw_2.json/.fits/.png
06_xy_1.json/.fits/.png
07_tip_tilt_1.json/.fits/.png
08_null_1.json/.fits/.png
final_configuration.json

04_set_z_N has JSON and FITS/NPZ but no plot. Darks use the shared location below instead of the session folder.

### Individual scans

An operator-run scan outside automatic RUN is saved under:

alignment_scan/YYYYMMDD/Alignment_output_individual/

It uses the same numbered stem convention. Applying it turns downstream workflow states orange because the previous downstream results are no longer consistent.

### Darks

Focal and APAPANE alignment darks are updated in place:

alignment_scan/darks/focal_dark.fits
alignment_scan/darks/focal_dark.json
alignment_scan/darks/apapane_dark.fits
alignment_scan/darks/apapane_dark.json

If Astropy is unavailable in the simulator, arrays use .npy. These shared latest darks allow a later partial workflow to reload them.

### Command logs

Exactly three files persist and append across scans, dates and application launches:

alignment_scan/command_logs/dm_commands.jsonl
alignment_scan/command_logs/mount_commands.jsonl
alignment_scan/command_logs/conex_commands.jsonl

Each JSONL line contains a global sequence, UTC timestamp, mode, device, action, command, outcome and available target/readback/error data. Scan JSON records the relevant start/end sequence range and log paths; command records are not duplicated into scan folders.

### Manual camera frames

The persistent default folder is camera_frame_root in the active JSON. The supplied instrument value is /home/scexao/glint/; the simulator uses <refactor root>/simulated_camera_frames. Python has no fallback default. The operator may choose a one-off folder and basename in the GUI, but that does not change the JSON. A blank basename creates <camera>_YYYYMMDD_HHMMSS_microseconds. One frame is 2-D and multiple frames form a 3-D cube. FITS is used when Astropy is available, otherwise NPY.

# 10. What each saved scan contains

| Product | Contents |
| --- | --- |
| JSON | Scan kind/time, axes, fit estimates, recommendation, parameters, review decision, full post-review mount and Conex readback, all 37 DM segment piston/tip/tilt values, array filename/format, figure filename and command-log range. |
| FITS | Primary metadata plus one image HDU per scan axis/map. |
| NPZ | Simulator fallback containing the same named axis/map arrays if Astropy is unavailable. |
| PNG | Exact figure displayed in Scan Review for bulk, pitch/yaw, X/Y, tip/tilt and null scans. |
| final_configuration.json | Final mount, Conex and complete DM state; REST OF DM selection; all workflow statuses; requested scan range; complete public application configuration. |

Review products are first saved as awaiting_review. Apply, Redo or Restore/Exit updates the same JSON record rather than allocating another stem. Abort restores the captured pre-scan state and writes no scan product.

# 11. Configuration and output boundaries

- config/ contains inputs/defaults and should be versioned/backed up.

- alignment_scan/ contains acquired data and audit logs and should not be copied back into config/.

- legacy_active/ is historical reference only.

- Telescope focal-reference FITS files, the DM flat-voltage file and control services remain external; their authoritative paths/names are stored in config/instrument.json.

- A scan JSON contains a snapshot of the public application configuration used for that run, but it is an output record, not the defaults file loaded at startup.

# 12. Pre-telescope checks

- Back up config/instrument.json, detector_boxes.json and response_matrix.npy together.

- Confirm that the active JSON path shown in the Workflow editor is the intended telescope file before pressing Update.

- Validate all 37 segment-specific tilted_away and science_operation PTT values and their validated flags.

- Confirm focal-reference FITS paths, the 111-value F0 calibration and its validated flag, response matrix, focal crop and Conex absolute limits.

- Confirm mount axis mapping, ranges, fixed roll and Set Z.

- Confirm SHM names, mount serial device, control-code path and glint_steering2 executable.

- Confirm output and command-log directories are writable.

- Run the local simulator and the 47-test regression suite before telescope deployment.